Appendix B.10 Linearity test of the Festo pressure sensor at 450-kPa inputs.

Figure B.10 Static test of Festo pressure sensor at 450-kPa input at ¼ Hz. (Graph displays1 volt offset due to commercial specifications.)

The Festo pressure sensor SDE-10-10 V/20 mA. No. 19562. Was used to record the pressure inside the pressure vessel designed for the validation of the Parotec sensors. A Bourdon pressure gauge was also used to register the pressure inside the vessel. The Festo sensor was evaluated in order to determine errors due to non-linearity. A static test was carried out using inputs from 0 to 450kPa at ¼ Hz. A comparison of the output values obtained from the Festo sensor and the Bourdon pressure gauge was made.