Appendix B.2

DIAGRAM OF THE ELECTRONIC SET UP FOR VALIDATION

OF PAROTEC SYSTEM

# Pin connector for Valve

# 8 way connector

Pn 3 – Yellow ( Sig  IN)

2 - Brown (GND)

7 – White ( 24 V supply )

##### Green

Signal Generator

##### Proportional

Pressure Regulator

Valve FESTO

-

+

# Brown

Pins connectors (Sensor)

1 +24Vdc. Brown

- White 9 ( 0 V )

- Green

- Yellow

-       +

Power

Supply  +

Unit      -

# TO PC

White

#### Green

###### FESTO Pressure Sensor

# Brown

Yellow

## 24 V SUPPLY

EARTH