| Subject number | ## Source ( Expert or KBS ) |  | No. sensor identified as high pressure ( | Right foot) | N. sensor identified as high pressure ( Left foot) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ## Diagnosis |  | Area | Area | Area | Area | Left Foot |  |
|  |  | Heel | Forefoot | Toes | Heel | Forefoot | Toes |
|  |  | 1,2,3,4 | 17,18,19,20 | 21,22,23,24 | 1,2,3,4 | 17,18,19,20 | 21,22,23,24 |
| 1 | Parotec | 1,2,3,4 | 18,19,20 | 24 | 1,2 | 19,20 |  |
| (Diagnosis:Foot | Knowledge-based system | 1,2,3,4 | 18,19,20 | 24 | 1,2 | 18,19,20 |  |
| Pronated and Cavus) |  |  |  |  |  |  |  |
| Male | Expert 1 - Orthopaedic surgeon |  | 17,18,19,20 |  |  | 17,18,19,20 |  |
|  | Expert 2 - Orthopaedic surgeon |  | 18,19 | 23 |  | 18,19,20 | 24 |
|  | Expert 3 - Paediatrics | 1,2,3 | 18,19,20 | 24 | 1,2,3,4 | 18,19,20 | 21,24 |
|  | Expert 4 - Orthotics technician |  |  |  |  |  |  |
| 2 | Parotec | 1,2,3,4 | 17,18,19 | 23,24 | 1,2,3,4 | 17,18,19 | 23,24 |
| (Diagnosis: Normal) | Knowledge-based system | 1,2,3,4 | 17,18,19 | 23,24 | 1,2,3,4 | 17,18,19 | 23,24 |
| Male |  |  |  |  |  |  |  |
|  | Expert 1 - Orthopaedic surgeon | 1,2,3,4 | 17,18,19 | 24 | 1,2,3,4 | 17,18,19 | 24 |
|  | Expert 2 - Orthopaedic surgeon |  | 17,18,19 | 23 |  | 17,18 | 23 |
|  | Expert 3 - Paediatrics | 1,2,3,4 | 18,19 | 24 | 1,2,3,4 | 17,18,19 | 24 |
|  | Expert 4 - Orthotics technician |  | 18,19 |  | 1,2 | 18,19 |  |
| 3 | Parotec | 1,2,3,4 | 17,18,19,20 |  | 1,2,3,4 | 18,19,20 |  |
| (Diagnosis: Claw toes | Knowledge-based system |  | 17,18,19,20 |  | 1,2,3,4 | 18,19,20 |  |
| foot pronated and |  |  |  |  |  |  |  |
| Cavus) | Expert 1 - Orthopaedic surgeon | 1,2,3,4 | 17,18,19,20 | 23,24 | 1,2,3,4 | 18,19,20 | 23,24 |
| Male | Expert 2 - Orthopaedic surgeon |  | 17,18,19,20 |  |  | 17,18,19,20 |  |
|  | Expert 3 - Paediatrics | 1,2,3,4 | 17,18,19,20 | 24 | 1,2,3,4 | 18,19,20 | 23,24 |
|  | Expert 4 - Orthotics technician |  | 17,18,19,20 |  |  | 17,18,19,20 |  |
| 4 | Parotec | 1,2,3,4 | 17,18,19,20 | 21,23,24 | 1,2,3,4 | 18,19,20 | 24 |
| (Diagnosis: Hallux | Knowledge-based system | 1,2,4 | 17,18,19,20 | 23,24 | 1,2,4 | 18,19,20 | 23,24 |
| Valgus) |  |  |  |  |  |  |  |
| Female | Expert 1 - Orthopaedic surgeon | 1,2,4 | 17,18,19,20 | 23,24 | 1,2 | 18,19,20 | 23 |
|  | Expert 2 - Orthopaedic surgeon |  | 18,19 | 23 |  | 18,19 | 23 |
|  | Expert 3 - Paediatrics | 1,2,3,4 | 17,18,19,20 |  | 1,2,3,4 | 18,19,20 |  |
|  | Expert 4 - Orthotics technician |  |  |  |  |  |  |

|  | ### Source | ### Insole prescription | Callus | No. sensor where a insert or pad should be located to distribute pressure and materials |
| --- | --- | --- | --- | --- |
| 1 | Parotec |  | MTH1, MTH2, MTH3 |  |
|  | Knowledge-based system | Moulded insole |  | EVA material + shock absorption material, |
|  |  |  |  | rubber REF 2-0035, 5mm |
|  | Expert 1 - Orthopaedic surgeon | Moulded insole + metatarsal bar (both feet) |  | Inserts for sensors 17,18,19,20 |
|  | Expert 2 - Orthopaedic surgeon | Flat insole |  | Soft material |
|  | Expert 3 - Paediatrics | Moulded insole |  |  |
|  | Expert 4 - Orthotics technician | Moulded insole |  | Plastazote |
| 2 | Parotec |  | MTH1, MTH2, MTH3 |  |
|  | Knowledge-based system | Moulded insole + insert (dome) | and heel | Inserts for sensors 13,14,15. Plastazote + EVA |
|  |  |  |  | Shock absorption material, rubber REF 2-0035, 5mm |
|  | Expert 1 - Orthopaedic surgeon | Flat insole + metatarsal bar (both feet) |  | Inserts for sensors 13,14,15,16 |
|  | Expert 2 - Orthopaedic surgeon | Moulded insole + insert (dome) |  | Inserts for sensors 13,14,15 |
|  | Expert 3 - Paediatrics | Moulded insole + insert (dome) |  |  |
|  | Expert 4 - Orthotics technician | Moulded insole + insert (dome) |  |  |
| 3 | Parotec |  | MTH1, MTH2, MTH3 |  |
|  | Knowledge-based system | Moulded insole + metatarsal bar (both feet) | and heel | Inserts for sensors 16,15,14,13. Plastazote + EVA |
|  |  |  |  | Shock absorption material, rubber REF 2-0035, 5mm |
|  | Expert 1 - Orthopaedic surgeon | Flat insole + metatarsal bar (both feet) |  | Inserts for sensors 13,14,15 |
|  | Expert 2 - Orthopaedic surgeon | Moulded insole + insert (dome) |  | Inserts for sensors 16,15,14,13 |
|  | Expert 3 - Paediatrics | Moulded insole + metatarsal bar + insert (dome) |  | Inserts for sensors 16,15,14,13 |
|  | Expert 4 - Orthotics technician | Moulded insole + metatarsal bar (both feet) |  |  |
| 4 | Parotec |  | Hallux (both feet) |  |
|  | Knowledge-based system | Moulded insole |  | Plastazote + EVA |
|  |  |  |  | Shock absorption material, rubber REF 2-0035, 5mm |
|  | Expert 1 - Orthopaedic surgeon | Flat insole + metatarsal bar (both feet) |  | Inserts for sensors 13,14,15,16 |
|  | Expert 2 - Orthopaedic surgeon | Moulded insole + insert (dome) |  | Inserts for sensors 13,14,15 |
|  | Expert 3 - Paediatrics | Moulded insole + metatarsal bar + insert (dome) |  | Inserts for sensors 13,14,15,16. Plastazote + EVA |
|  | Expert 4 - Orthotics technician | Moulded insole |  | Plastazote |