## Slide 1
INTER COMPARISON OF MEDICAL IMAGE SEGMENTATION ALGORITHMS
Amit N. Pujari, Dr. W. A. Sandham
Introduction
Image segmentation is a procedure that spatially partitions an image into a certain number of homogeneous regions or isolates specific objects in an image.1 These homogeneous regions are determined by some criteria, such as grey level, colour and texture. There can be various methods like clustering, thresholding and region growing for segmentation of brain MRI images. Project involves comparison and analysis of segmentation algorithms like traditional fuzzy C-means and improved fuzzy C- means. MATLAB software package is used to write new segmentation algorithms. The developed algorithms will be compared with the existing algorithms for there efficiency. The final objective of the project is to design a better segmentation algorithm using MATLAB which could serve as better diagnostic tool for brain MRI images.
MRI scan
Original MRI images
Image analysis
Image preprocessing
Image Segmentation
The first peak in the histogram represents the number of background pixels. These background pixels must be excluded from the standardization, because they do not describe any useful information. Generally, the first peak ends at 5% of the maximum intensity of the image.
Histogram of MRI
Histogram of foreground only
background
foreground
Threshold
Detection
Erosion
Labelling
Dilation
Brain
Regions
Non-Brain
Regions
Masking
Masked Image
Normalized Image
Morphological Separation
Standardizing intensity scales of MRI
Non-brain region removal using morphology
Two Steps of Pre-Processing

## Slide 2: Results2
INTER COMPARISON OF MEDICAL IMAGE SEGMENTATION ALGORITHMS
Amit N. Pujari, Dr. W. A. Sandham
Fuzzy C-means clustering
Fuzzy maximum likelihood estimation
Fuzzy possibilistic C-means
Fuzzy improved C-means
Fuzzy approach based image segmentation algorithm methods (methodology)
Matlab
Evaluation and comparison of all algorithms
New better algorithm
Segmentation Result for FCM
Segmentation Result for IFCM
Standardized MRI
Brain region only
Original MRI
Conclusions
1. The intensity scales for MRI are to be standardized.
2. The non-brain region should be removed using morphological operations: erosion, labeling, dilation and masking.
3. An improved fuzzy c-means clustering algorithm seems to be better at this time from established2 results.
References: 1. A. R. Robb, biomedical Imaging, visualisation
and analysis. New York:
2. S. Shen, W.A. Sandham, et al, Fuzzy clustering based applications
to medical image segmentation, Proc.25, IEEE, 17 Sept,2003.