# Appendix 3B

### Calibration of Data Logger without the Electrogoniometers in their Channel Slots

CALIBRATION WIZZARD - Gain set at 400, Offset set at 127 - 130 A/D value

| Channel 1 (A/D value) | Channel 1 (A/D value) Repeated | Channel 2 (A/D value) | Channel 2 (A/D value) Repeated | Channel 3 (A/D value) | Channel 3 (A/D value) Repeated | Channel 4 (A/D value) | Channel 4 (A/D value) Repeated |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |
| 17 | 17 | 17 | 17 | 17 | 17 | 17 | 17 |
| 26 | 26 | 27 | 27 | 27 | 27 | 27 | 27 |
| 40 | 40 | 41 | 41 | 41 | 41 | 41 | 41 |
| 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 |
| 59 | 59 | 59 | 59 | 59 | 59 | 59 | 59 |
| 73 | 73 | 73 | 73 | 73 | 73 | 73 | 73 |
| 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83 |
| 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 |
| 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 |
| 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 |
| 124 | 124 | 125 | 125 | 124 | 124 | 125 | 125 |
| 134 | 134 | 134 | 134 | 134 | 134 | 134 | 134 |
| 148 | 148 | 148 | 148 | 148 | 148 | 148 | 148 |
| 157 | 157 | 158 | 158 | 157 | 157 | 157 | 157 |
| 171 | 171 | 172 | 172 | 171 | 171 | 171 | 171 |
| 181 | 181 | 181 | 181 | 180 | 180 | 181 | 181 |
| 190 | 190 | 190 | 190 | 190 | 190 | 190 | 190 |
| 199 | 199 | 200 | 200 | 199 | 199 | 200 | 200 |
| 213 | 213 | 214 | 214 | 213 | 213 | 214 | 214 |
| 223 | 223 | 223 | 223 | 222 | 222 | 223 | 223 |
| 232 | 232 | 233 | 233 | 232 | 232 | 232 | 232 |

Each channel shows repeatable data, indicating no interferences.