Fluorescence quenching

There are two types of fluorescence quenching:

1) Static fluorescence quenching

Static fluorescence quenching results from the formation of non fluorescent complex between ground state of the fluorophore and quencher. Ground state complex formed is stable with spectral properties that will necessarily differ from that of the uncomplexed fluorophore.

The static quenching process is described by Stern –Volmer equation 1A:

.					   		Equation 1A:                               f/f+q = KsvCq +1

where                      f         is the quantum yield of unquenched fluorophore

f+q      is the quantum yield of quenched fluorophore

Ksv       is the Stern –Volmer constant

and                   Cq      is the concentration of the quencher

Quantum yields by definition express the proportion of excited molecules that deactivates by emitting a fluorescent photon. Usually the relative quantum yields, where fluorescence efficiency of an unknown is related to that of standard are determined (equation 2A).

Equation 2A:                       f = (As/ Af)(Ff/Fs)(nf/ns)2s

where                            is the fluorescence quantum yield

A is the absorbance at the excitation wavelength

F is the area under emission curve

n is the refractive index of the solvents  used

Subscripts f and s refer to unknown and the standard respectively.

Most commonly used standard compound in quantum yield determination for fluorophores between 400-600 nm is quinine in 1N H2SO4 with =0.55.

Fluorescein in 0.1 NaOH with =0.92 or 2-aminopyridine in 0.1N H2SO4 with =0.60 can also be used.

2) Dynamic (or collision) quenching

Dynamic quenching involves the collision and subsequent formation of a complex between and excited state fluorophore and a ground state quencher. This complex must be formed during the excited state lifetime of the fluorophore and it is diffusion controlled.  Stern-Volmer equation 3A describes this form of quenching .

.         							Equation 3A:                      f/f+q Pf/Pf+q = ksvdfCq +1= Ksvd +1

where                 f is the fluorescence lifetime of unquenched fluorophore

ksvd bimolecular rate constant for dynamic quenching

Ksvd is Stern Volmer constant

Cq is the concentration of  the quencher

In both cases of static and dynamic quenching Stern Volmer constant serves as direct measure of the efficiency of the   fluorescence quenching process.

# Fluorescence Resonance Energy Transfer

Fluorescence resonance energy transfer (FRET) is a distance dependant interaction between electronic excited states of two dye molecules, where excitation is transferred from  donor molecule to an acceptor. This phenomenon was first described by Pernu at the beginning of the 20th century, but real account was given by Föster. He proposed the theory describing long range molecular interaction and derived a transfer rate equation that relates the distance between 2 chromophores and their spectroscopic properties.

### Primary Conditions for FRET

- Donor and acceptor molecules must be in close proximity (typically 10–100 Å).

- The absorption spectrum of the acceptor must overlap the fluorescence emission spectrum of the donor (see figure 1A).

- Donor and acceptor transition dipole orientations must be approximately parallel.

Figure 1A..Schematic representation of the FRET spectral overlap integral.

## Equations

Energy transfer by dipolar interaction is described by the Föster rate equation 4A.

Equation 4A:                             k=1/d (Ro/r)6

where         d is donor lifetime in the absence of accepto

r is the donor–acceptor radius

Ro is the Föster radius or critical transfer distance at

which energy transfer is 50% efficient (50% of

excited photons are deactivated by FRET)

Föster radius is dependant on spectral properties of the donor and acceptor dyes and can be calculated using equation 5A.

Equation 5A:                          Ro = ( 8.75 10-5 2D J()/n4)1/6 Å

where                                   2 is dipole orientation factor (0-4; 2 is 2/3 for

randomly oriented donors and acceptors)

D is fluorescence quantum yield of the donor in the

absence of acceptor

n is the refraction index (generally taken to be 1.4 in

aqueous solutions)

J() is the  overlap integral between the donor and

acceptor

J()  =  A() FD ()4d cm3M-1

A is the molar absorption coefficient for the acceptor

FD is the peak normalised fluorescence spectrum of the donor

Typical values for Ro for common Donor/Acceptor pairs:

fluorescein : TAMRA      55 Å

EDANS :  FAM              46Å

Fluoresceing : QSY7        61Å

.

For detailed information on experimental set up and application of FRET look at

P. Wu, L. Brandt, Analy. Biochem, 1994, 218, 1.