# checkCIF/PLATON report (basic structural check)

No syntax errors found.                               CIF dictionary
Please wait while processing ....                     Interpreting this report

Datablock: jkmat2

| Bond precision: | C-C = 0.0022 A | Wavelength=0.71073 |
| --- | --- | --- |

| Cell: | a=12.4930(3) | b=12.8910(3) | c=20.8841(5) |
| --- | --- | --- | --- |
|  | alpha=90 | beta=92.494(2) | gamma=90 |
| Temperature: | 123 K |  |  |

|  | Calculated | Reported |
| --- | --- | --- |
| Volume | 3360.14(14) | 3360.14(14) |
| Space group | P 21/c | P2(1)/c |
| Hall group | -P 2ybc | ? |
| Moiety formula | C31 H54 Li N O2 Si2 Zn | ? |
| Sum formula | C31 H54 Li N O2 Si2 Zn | C31 H54 Li N O2 Si2 Zn |
| Mr | 601.26 | 601.24 |
| Dx,g cm-3 | 1.189 | 1.189 |
| Z | 4 | 4 |
| Mu (mm-1) | 0.828 | 0.828 |
| F000 | 1296.0 | 1296.0 |
| F000' | 1298.11 |  |
| h,k,lmax | 17,18,29 | 17,18,29 |
| Nref | 10285 | 9627 |
| Tmin,Tmax | 0.847,0.921 | 0.953,1.000 |
| Tmin' | 0.847 |  |

| Correction method= MULTI-SCAN |  |
| --- | --- |

| Data completeness= 0.936 | Theta(max)= 30.550 |
| --- | --- |

| R(reflections)= 0.0352( 7223) | wR2(reflections)= 0.0742( 9627) |
| --- | --- |

| S = 0.997 | Npar= 363 |
| --- | --- |

The following ALERTS were generated. Each ALERT has the format

test-name_ALERT_alert-type_alert-level.

Click on the hyperlinks for more details of the test.

Alert level C

ABSTY02_ALERT_1_C  An _exptl_absorpt_correction_type has been given without

a literature citation. This should be contained in the

_exptl_absorpt_process_details field.

Absorption correction given as multi-scan

PLAT230_ALERT_2_C Hirshfeld Test Diff for    Si1    --  C13     ..       5.30 su

PLAT230_ALERT_2_C Hirshfeld Test Diff for    Si4    --  C43     ..       5.36 su

PLAT062_ALERT_4_C Rescale T(min) & T(max) by .....................       0.92

PLAT164_ALERT_4_C Nr. of Refined C-H H-Atoms in Heavy-At Struct...          2

PLAT790_ALERT_4_C Centre of Gravity not Within Unit Cell: Resd.  #          1

C31 H54 Li N O2 Si2 Zn

Alert level G

ABSTM02_ALERT_3_G  When printed, the submitted absorption T values will be

replaced by the scaled T values. Since the ratio of scaled T's

is identical to the ratio of reported T values, the scaling

does not imply a change to the absorption corrections used in

the study.

Ratio of Tmax expected/reported      0.921

Tmax scaled      0.921 Tmin scaled      0.878

PLAT710_ALERT_4_G Delete 1-2-3 or 2-3-4 Linear Torsion Angle ... #          1

C2  -ZN1 -LI1 -N3     99.70  0.50   1.555   1.555   1.555   1.555

PLAT710_ALERT_4_G Delete 1-2-3 or 2-3-4 Linear Torsion Angle ... #          3

C2  -ZN1 -LI1 -O1    -48.50  0.60   1.555   1.555   1.555   1.555

PLAT710_ALERT_4_G Delete 1-2-3 or 2-3-4 Linear Torsion Angle ... #          6

C2  -ZN1 -LI1 -O4    177.00  0.40   1.555   1.555   1.555   1.555

PLAT710_ALERT_4_G Delete 1-2-3 or 2-3-4 Linear Torsion Angle ... #          9

C2  -ZN1 -LI1 -C11   -95.30  0.50   1.555   1.555   1.555   1.555

PLAT710_ALERT_4_G Delete 1-2-3 or 2-3-4 Linear Torsion Angle ... #         11

C2  -ZN1 -LI1 -SI1   -64.80  0.50   1.555   1.555   1.555   1.555

PLAT710_ALERT_4_G Delete 1-2-3 or 2-3-4 Linear Torsion Angle ... #         88

LI1 -ZN1 -C2  -C23   -90.50  0.50   1.555   1.555   1.555   1.555

PLAT710_ALERT_4_G Delete 1-2-3 or 2-3-4 Linear Torsion Angle ... #         91

LI1 -ZN1 -C2  -C21    32.40  0.60   1.555   1.555   1.555   1.555

PLAT710_ALERT_4_G Delete 1-2-3 or 2-3-4 Linear Torsion Angle ... #         94

LI1 -ZN1 -C2  -C22   147.40  0.50   1.555   1.555   1.555   1.555

PLAT779_ALERT_4_G Suspect or Irrelevant (Bond) Angle in CIF ......      38.32 Deg.

O1   -SI1  -LI1     1.555   1.555   1.555

0 ALERT level A = In general: serious problem

0 ALERT level B = Potentially serious problem

6 ALERT level C = Check and explain

10 ALERT level G = General alerts; check

1 ALERT type 1 CIF construction/syntax error, inconsistent or missing data

2 ALERT type 2 Indicator that the structure model may be wrong or deficient

1 ALERT type 3 Indicator that the structure quality may be low

12 ALERT type 4 Improvement, methodology, query or suggestion

0 ALERT type 5 Informative message, check

Publication of your CIF in IUCr journals A basic structural check has been run on your CIF. These basic checks will be run on all CIFs submitted for publication in IUCr journals (Acta Crystallographica, Journal of Applied Crystallography, Journal of Synchrotron Radiation); however, if you intend to submit to Acta Crystallographica Section C or E, you should make sure that full publication checks are run on the final version of your CIF prior to submission. Publication of your CIF in other journals Please refer to the Notes for Authors of the relevant journal for any special instructions relating to CIF submission.

PLATON version of 12/11/2008; check.def file version of 12/11/2008

Datablock jkmat2 - ellipsoid plot