| Document Copy No: |  |
| --- | --- |

Document No. 5.1.1

5. Greencode Audits

1. Management Audits

1. Emissions to Atmosphere

Version 1.0

Management Audit

Emissions to Atmosphere

| Auditor : |  |
| --- | --- |
| Location : |  |
| Date : |  |

© West Lothian NHS Trust 1997.

First Published 1995.

Prepared by the NHS in Scotland.

Principal Authors P P Yaneske & K McDonach

Printed by the Safety & Environmental Management Unit, University of Strathclyde.

All Rights reserved. No part of this publication may be reproduced in any form or by any means without the prior permission of the West Lothian NHS Trust.

While every care has been taken to ensure the accuracy of this document, the developers can accept no responsibility for errors or omissions. The person using this document must satisfy him/herself as to its accuracy and relevance having regard to the circumstances of its use.

|  | Name | Signature | Date |
| --- | --- | --- | --- |
| Reviewed & Accepted by |  |  |  |
| Authorised for use by |  |  |  |

Introduction

Under the Environment Act 1995, responsibility for the control of all atmospheric pollution in Scotland falls to the Scottish Environmental Protection Agency while in England and Wales responsibility is split between local authorities and the Environmental Protection Agency which deals with processes coming under integrated pollution control.

Emissions of global significance include those of ozone depleting substances. The manufacture and supply of such substances is being rapidly phased out but a large stock of CFCs remains in refrigeration systems and of halons in firefighting equipment.

The combustion of fossil fuels in boilers leads to the emission of the greenhouse gas carbon dioxide which is linked to global warming. It also leads to the formation of atmospheric sulphur and nitrogen dioxides, pollutants linked to acid rain.

At local level, the emission of dark smoke, grit and dust from chimneys are pollutants subject to legislative control. The burning of waste material and vegetation is another potential source of air pollution and should be avoided. Emissions from waste incinerators such as clinical waste incinerators are prescribed processes under the provisions of the Environmental Protection Act 1990.

There has been growing concern about air pollutants from vehicle exhaust emissions. Diesel engines are more fuel efficient than new petrol engines and produce less carbon dioxide but far more particulates and more nitrogen oxides, pollutants of particular concern in links between air quality and ill health.

There are a variety of forced ventilation and extract systems in use. Where potentially harmful or odorous contaminants are involved, protection of the environment and the public may necessitate additional control measures.  Concern may be directed to the potential environmental effect under abnormal operating conditions when an excessive amount of pollutant may be discharged.

Noise is another emission which may arise from a variety of sources and give rise to nuisance.  Finally,  sky glow caused by the scattering of artificial light in  the night time sky is also regarded as a form of pollution not only with psychological and ecological effects but also representing a waste of energy.

Legislation

UK primary legislation applicable to emissions to atmosphere includes:

Environment Act 1995

Clean Air Act 1993

Health and Safety at Work Act 1974

Environmental Protection Act 1990

Control of Pollution Act 1974

Public Health (Scotland) Act 1897

EC directly applicable legislation with relevance to emissions to atmosphere includes:

Regulations 91/594 and 94/3093 on substances that deplete the ozone layer

Primary References

DoE Environmental Action Guide Advisory Note 2: CFCs and halons in accommodation and estate work.  HMSO, 1993.  ISBN 0-11-752542-1.

Chimney Heights.  Third edition of the 1956 Clean Air Act memorandum (1981).  HMSO,  1992.  ISBN 0-11-751556-6.

Transport and the Environment.  Royal Commission on Environmental Pollution, 18th Report,  Cm 2674.  HMSO, 1994.  ISBN 0-10-126742-8.

DoE Environmental Action Guide Advisory Note 5:  Grounds Management.  HMSO, 1993.  ISBN 0-11-752542-1.

An introduction  to LOCAL EXHAUST VENTILATION. Health & Safety Executive HS(G) 37. HMSO, 1993.

ISBN 0-11-882134-2.

Guidance Notes for the Reduction of Light Pollution (Revised).  The Institution of Lighting Engineers, 1994.

N.B.	Before commencing this audit please ensure that the 'Auditor', 'Location', 'Date' and 'GREENCODE Issue No' boxes are completed on front page.

| 1. | POLICY |  | Y |  | N |  | Q |  | X |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Is there a written policy statement on emissions to |  |  |  |  |  |  |  |  |
|  | atmosphere? |  |  |  |  |  |  |  |  |
| 2. | Does the policy statement identify key senior managers |  |  |  |  |  |  |  |  |
|  | with overall responsibility for policy formation, policy |  |  |  |  |  |  |  |  |
|  | implementation and ongoing policy development? |  |  |  |  |  |  |  |  |
| 3. | Does the policy statement identify legal requirements as the |  |  |  |  |  |  |  |  |
|  | minimum acceptable level of environmental performance? |  |  |  |  |  |  |  |  |
| 4. | Is the policy statement brought to the attention of all staff? |  |  |  |  |  |  |  |  |
| 5. | Is the policy statement signed and dated by the chief |  |  |  |  |  |  |  |  |
|  | executive? |  |  |  |  |  |  |  |  |
| 2. | ORGANISATION & PERSONNEL |  |  |  |  |  |  |  |  |
| 1. | Has a manager with overall responsibility for emissions to |  |  |  |  |  |  |  |  |
|  | atmosphere been appointed? |  |  |  |  |  |  |  |  |
| 2. | Are responsibilities for emissions to atmosphere devolved |  |  |  |  |  |  |  |  |
|  | successively through the management structure? |  |  |  |  |  |  |  |  |
| 3. | Are the duties of personnel with devolved responsibilities |  |  |  |  |  |  |  |  |
|  | documented? |  |  |  |  |  |  |  |  |
| 4. | Are there arrangements for departmental managers to |  |  |  |  |  |  |  |  |
|  | collaborate on the co-ordination of emissions to atmosphere? |  |  |  |  |  |  |  |  |
| 5. | Are there arrangements for identifying instruction and |  |  |  |  |  |  |  |  |
|  | training needs on emissions to atmosphere ? |  |  |  |  |  |  |  |  |
| 6. | Are there arrangements for carrying out identified |  |  |  |  |  |  |  |  |
|  | instruction and training? |  |  |  |  |  |  |  |  |
| 3. | PRACTICES & PROCEDURES |  |  |  |  |  |  |  |  |
| 1. | Are there arrangements for obtaining information on, and |  |  |  |  |  |  |  |  |
|  | keeping up-to-date with, changes in statutory requirements, |  |  |  |  |  |  |  |  |
|  | codes of practice and guidance related to emissions to |  |  |  |  |  |  |  |  |
|  | atmosphere? |  |  |  |  |  |  |  |  |
| 2. | Have all sources of emissions to atmosphere been |  |  |  |  |  |  |  |  |
|  | identified? |  |  |  |  |  |  |  |  |
| 3. | Have you documented all sources of discharge to |  |  |  |  |  |  |  |  |
|  | atmosphere that are prescribed processes under the |  |  |  |  |  |  |  |  |
|  | Environmental Protection Act 1990? |  |  |  |  |  |  |  |  |
| 4. | Have you documented all sources of discharge to |  |  |  |  |  |  |  |  |
|  | atmosphere that fall within the scope of the Clean Air Act |  |  |  |  |  |  |  |  |
|  | 1993? |  |  |  |  |  |  |  |  |

|  | PRACTICES & PROCEDURES CONT. |  | Y |  | N |  | Q |  | X |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 5. | Have all wet cooling tower and evaporative condensers |  |  |  |  |  |  |  |  |
|  | been notified to the local authorities? |  |  |  |  |  |  |  |  |
| 6. | Has all refrigeration and fire fighting equipment |  |  |  |  |  |  |  |  |
|  | containing ozone depleting substances been documented? |  |  |  |  |  |  |  |  |
| 7. | Have all the documented emissions to atmosphere been |  |  |  |  |  |  |  |  |
|  | quantified? (i.e. Volume, weight etc.) |  |  |  |  |  |  |  |  |
| 8. | Is a register of documented emissions to atmosphere |  |  |  |  |  |  |  |  |
|  | maintained and are detailed records of emissions kept? |  |  |  |  |  |  |  |  |
| 9. | Has an exercise been undertaken to identify potential |  |  |  |  |  |  |  |  |
|  | reductions in emissions to atmosphere? |  |  |  |  |  |  |  |  |
| 10. | Do you have the appropriate authorisations for your |  |  |  |  |  |  |  |  |
|  | emissions to atmosphere? |  |  |  |  |  |  |  |  |
| 11. | Are there arrangements to assess the impact of noise |  |  |  |  |  |  |  |  |
|  | generated by organisational activities upon the surrounding environment? |  |  |  |  |  |  |  |  |
| 12. | Are there arrangements to reduce unnecessary obtrusive |  |  |  |  |  |  |  |  |
|  | light at night? |  |  |  |  |  |  |  |  |
| 13. | Has all applicable legislation on this topic been identified? |  |  |  |  |  |  |  |  |
| 14. | To your knowledge is the organisation adhering to all |  |  |  |  |  |  |  |  |
|  | applicable legislation on this topic? |  |  |  |  |  |  |  |  |
| 4. | PROGRAMME & CORRECTIVE ACTION |  |  |  |  |  |  |  |  |
| 1. | Is there an up-to-date programme for emissions to |  |  |  |  |  |  |  |  |
|  | atmosphere which identifies specific environmental |  |  |  |  |  |  |  |  |
|  | objectives? |  |  |  |  |  |  |  |  |
| 2. | Are environmental objectives for emissions to atmosphere |  |  |  |  |  |  |  |  |
|  | to be achieved within a fixed time period and are they |  |  |  |  |  |  |  |  |
|  | measurable? |  |  |  |  |  |  |  |  |
| 3. | Is performance in emissions to atmosphere measured |  |  |  |  |  |  |  |  |
|  | against pre-determined programmes and compliance with |  |  |  |  |  |  |  |  |
|  | legislation? |  |  |  |  |  |  |  |  |
| 4. | Are there procedures for implementing remedial action |  |  |  |  |  |  |  |  |
|  | following the identification of any non-compliance and/or |  |  |  |  |  |  |  |  |
|  | complaints? |  |  |  |  |  |  |  |  |